Procedure to disable FLQ MO monitor PD errors.

Equipment and Tools:

- RS-232 cable, male/male, straight through, 9Pins

- Software 1377882.exe

Setup:

- Connect the RS-232 cable to the laser and computer

Procedure:

- Switch on the main switch of the fiber laser to receive 5V.

- Start the software 1377882.exe. This screen should appear:

- Select the comm port to which the laser is connected and press the “Connect” button. The program will now look like this:

- Press the “GO!” button.

- If the update completes successfully, the following message will appear:

- If the update does not complete correctly , this message will be shown:

- If the error message appears, check the connections and power to the laser and press the “GO!” button again. If the update does not complete the second time, please contact Coherent.

- Close the software by clicking the red box with the “X” in the upper right hand corner.

- Turn off the main switch of the laser.

- The process is now complete.